## Slide 1
Part 1: Optical Imaging
  Generation of light
  Plane wave propagation: geometrical optics
  Optical Imaging modalities
    Low scattering (microscopy, OPT, SPIM)
    High scattering (DOT,FMT)
Part 2: Innovation
  6 teams
  Work on Canvas
  Work on SWOT matrix (Strengths, Weaknesses, Opportunities, Threats)
  Elevator Pitch
Part 3: Neuroimaging
  Functional MRI
  Functional Diffuse Optical Tomography
Part 4: Biomedical analysis technologies
  Elisa
  FACS
Part 5: Biomedical Optics
Part 6: Imaging Trivial
Part 7: Presentation of Innovation Teams
Jorge.ripoll@uc3m.es

## Slide 2: Neuroimaging
Functional MRI, DTI, MEG, EEG

## Slide 7: Optical Methods
Functional Diffuse Optical Tomography (fDOT)

## Slide 8: Blood Absorption

## Slide 11: Functional Diffuse Optical Tomography

## Slide 12: Non-Contact FMT

## Slide 13: Wavelength Selection

## Slide 14: DOT Principles
Inverse Problem: Using the measurements as a starting point, what distribution of absorbers (mainly blood) caused them?
DOT recovers Hb and HbO Concentration

## Slide 15: DOT vs Single Image
Tissue
Single Image
Absorber (vessel)

## Slide 16: Principles of Tomography
Tissue
Diffuse Optical Tomography
source
Absorber (vessel)

## Slide 17: Forward Problem

## Slide 18: Forward Problem

## Slide 19: Inverse Problem
Mesh
Weight Matrix
Detector
The Weight Matrix Represents the contribution
of a certain voxel to the measured signal

## Slide 20: Forward Problem
Weight Matrix
3D Absorption Map
Wavelength-dep
Measurements

## Slide 21: Inverse Problem
Inverted Weight Matrix
3D Absorption Map
Wavelength-dep
Measurements
Ill-Posed Problem
Iterative Methods, SVD

## Slide 22: Relationship with Measurements